## Feuil1
Reference: |  | - |  | - |  | - |  |  | Reference: |  | - |  | - |  | / |  |  | Reference: |  | - |  | - |  | - |  | -
Example: | CEA | - | 13 | - | 125UN | - | 350 | L | Example: | 1 | - | DY41 | - | 3 | / | 350 | A | Example: | KFG | - | 3 | - | 120 | - | D17 | - | 23 | N30C3
|  | Carrier Matrix | #N/A | [7 empty] | Standard or configurable | #N/A | [6 empty] | 0 | Series designation | #N/A
|  | Foil alloy | #N/A | [7 empty] | Number of measuring grids and their relative position to each other | #N/A | [7 empty] | Gage length (mm)
| 0 | Self-temperature-compensation | #N/A | [7 empty] | SG series | #N/A | [7 empty] | Resistance (ohms)
|  | Active gage length | #N/A | [5 empty] | attention |  | Layout of grids, type and position of the connections | Ask us for details : contact@prescamex.fr | [6 empty] | 0 | Gage pattern | #N/A
|  | Grid and tab geometry | Ask us for details : contact@prescamex.fr | [7 empty] | Material to which the SG temperature response is matched | #N/A | [7 empty] | Applicable linear expansion coefficient | #N/A
|  | Resistance (ohms) | [8 empty] | Measuring grid length (mm) | [7 empty] | 0 | Type and length od leadwire cable options | Ask us for details : contact@prescamex.fr
| 0 | Optional feature | #N/A | [7 empty] | Resistance (ohms)
[11 empty] | Options | #N/A
VISHAY
| E | Open-faced cast polyimide backing
| CE | Thin, flexible gages with a cast polyimide backing and encapsulation featuring large, rugged, copper-coated solder tabs. This construction provides optimum capability for direct leadwire attachment
| L2 | Thin, laminated, polyimide-film backing featuring encapsulated grids with preattached leadwire ribbons
| C2 | Thin, laminated, polyimide-film backing featuring encapsulated grids with leadwire cables
| W | Fully encapsulated, glass-fiber-reinforced epoxy phenolic resin. High endurance leadwires
| N2 | The "N2" matrix provides an open faced gage on a thin, high-perfomrance laminated polyimide film backing
| S2 | Gage grid ans solder tabs fully encapsulated in a thin, flexible, laminated polyimide film. Provided with large [0,030 in (0,75mm)] solder pads for ease of leadwire attachment
| S | Full encapsulation identical to the W matrix, but with solder dot connections instead of leadwires
| A | Constantan alloy in self-temperature-compensated form
| P | Annealed Constantan
| D | Isoelastic alloy
| K | Nickel-chromium alloy (similar to Karma)
| 00 | Invar, Fe-Ni alloy, Quartz, fused Titanium Silicate, polycrystalline
| 03 | Alumina, fired Molybdenum pure, Tungsten pure, Zirconium pure
| 05 | Glass, Soda-Lime-Silica Stainless Steel, Ferritic (410) Titanium pure, Titanium alloy, 6AI-4V
| 06 | Beryllium pure, Cast Iron, grey Inconel, Ni-Cr-Fe alloy Incolen X, Ni-Cr-Fe alloy Monel, Ni-Cu alloy Nickel-A, Cu-Zn-Ni alloy Steel alloy, 4340 Steel, Carbon, 1008, 1018 Steel, Stainless, Age Hardenable (17-4PH) Steel Stainless, Age Hardenable (17-7PH) Steel Stainless, Age Hardenable (PH15-7Mo)
| 09 | Beryllium Copper, Cu 75, BE 25, Bronze, Phosphor, Cu 90, Sn 10 Copper pure, Steel Stainless Austenitic (304), Steel Stainless Austenitic (310), Steel Stainless Austenitic (316)
| 13 | Aluminum alloy, 2024-T4, 7075 T6, Brass, Cartridge, Cu 70-Zn 30 Tin pure
| 15 | Magnesium alloy, AZ-318
| 015 | 0,38 mm
| 031 | 0,79 mm
| 032 | 0,81 mm
| 060 | 1,52 mm each section
| 062 | 1,57 mm
| 125 | 3,18 mm
| 187 | 4,75 mm
| 250 | 6,35 mm
| 375 | 9,53 mm
| 500 | 12,70 mm
| 10C | 25,40 mm
| 20C | 50,80 mm
| G13 | 1,0 mm each section
| Geometry | Ask us for details : contact@prescamex.fr
| w | Integral printed circuit terminal polyimide encapsulation
| E | Polyimide encapsulation, leaving a portion of solder tab exposed
| SE | Solder dots plus polyimide encapsulation
| L | Preattached, soft, formable copper leads
| LE | Leads plus polyimide encapsulation
| P | Preattached leadwires cables and encapsulation
| P2 | Preattached leadwire cables for CEA-Series gages
HBM
| 1 | Standard
| K | with freely configurable connection cables
| L | one measuring grid, linear SG
| D | two measuring grids, measuring grid direction: parallel
| X | two measuring grids, measuring grid direction: T or X-shaped, offset by 90°
| R | three measurung grids, rosettes
| V | 4 measuring grids, full bridge SG
| M | full bridge SG as diaphragm rosette
| K | SG chains for determining strain gradients
| C | Carrier and cover: Polyimide/ Measuring grid foil Chromium/nickel alloy
| Y | Carrier and cover: Polyimide/ Measuring grid foil Constantan
| G | Carrier and cover: Glas-fiber reinforced phenolic resin/ Measuring grid foil: Constantan
| V | Carrier : Polyimide/ Measuring grid foil: Constantan, Molded with special plastic material, 3m stranded wire as standard
| Layout of grid, type ans position of the connections | Ask us for details : contact@prescamex.fr
| 1 | Ferritic steel
| 3 | Aluminium
| 5 | Austenitic steel
| 6 | Quarz glass / composite
| 7 | Titanium / gray cast iron
| 8 | Plastic material
| 9 | Molybdenum
| Measuring grid length in mm | Ask us for details : contact@prescamex.fr
| 120 | Measuring grid resistance (ohms)
| 350 | Measuring grid resistance (ohms)
| 700 | Measuring grid resistance (ohms)
| 1000 | Measuring grid resistance (ohms)
| A | Application aid
| V | Four wire connection
| Z | Two wire connection
KYOWA
| KFG | General-purpose foil strain gage
| KFGT | Foil strain gage with temperature sensor
| KFR | Foil strain gage
| KFW | Waterproof foil strain gage
| KFWS | Small waterproof foil strain gage
| KCW | Weldable waterproof foil strain gage
| KC | Wire strain gage
| KM | Embedded foil straingage for concrete
| KMC | Embedded wire strain gage for concrete
| KFRP | Foil strain gage for composite materials
| KFRS | Foil strain gage for printed boards
| KFP | Foil strain gage for plastics
| KFML | Foil strain gage for low-elasticity materials
| KSP | Semiconductor strain gage
| KSN | Self-temperature-compensation semiconductor strain gage
| KSPH | High-output semiconductor strain gage
| KSPL | Ultralinear semiconductor strain gage
| KHCX | Encapsulated strain gage
| KHCV | Encapsulated strain gage
| KHCR | Encapsulated strain gage
| KHCS | Encapsulated strain gage
| KHCM | Encapsulated strain gage
| KHC | Encapsulated strain gage
| KFU | High-temperature foil strain gage
| KH | Weldable high-temp foil strain gage
| KFH | High-temperature foil strain gage
| KFL | Low-temperature foil strain gage
| KFEM | Ultrahigh-elongation foil strain gage
| KFEL | High-elongation foil strain gage
| KFN | Noninductive foil strain gage
| KFS | Shielded foils strain gage
| KFF | Foil bending strain gage
| KCH | Foil strain gage with protector
| KMP | Embedded foil strain gage for plastics
| KV | Crack gage
Gage length (mm)
Resistance (ohms)
| A1 | Uniaxial, leads at cone end (KC, KTB gages)
| C1 | Uniaxial, leads at cone end (foil gage)
| C2 | Uniaxial 90, lead at both ends
| C3 | Uniaxial 0, lead at both ends
| C9 | Uniaxial, leads at one end (KFN gage)
| C11 | Uniaxial, 2-element, 1 mm thick (KFF gage)
| C12 | Uniaxial, 2-element, 2 mm thick (KFF gage)
| C15 | Uniaxial right 45, for shearing strain, leads at one end
| C16 | Uniaxial left 45, for shearing strain, leads at one end
| C20 | Uniaxial, leads at a side (for bolt axials tension)
| D1 | Biaxial 0/90, lead at both ends
| D2 | Biaxial 0/90, lead at both ends (for torque)
| D3 | Triaxial 0/90/45, lead at both ends, plane arrangement
| D4 | Triaxial 0/120/240, plane arrangement
| D6 | Quadriaxial 0/30/90/150
| D9 | Uniaxial 5-element 90
| D16 | Biaxial 0/90 stacked rosette, round base
| D17 | Triaxial 0/90/45 stacked rosette, round base
| D19 | Uniaxial 5-element 0
| D20 | Biaxial 0/90 (KFN gage)
| D22 | Triaxial 0/90/45, plane arrangement
| D25 | Triaxial 0/90/45, plane arrangement
| D28 | Triaxial 0/135/90, plane arrangement (for boring)
| D29 | Biaxial 0/90, leads at one end, plane arrangement
| D30 | Triaxial 0/90/45, leads at one end, plane arrangement
| D31 | Biaxial 0/90, leads at one end (for torque)
| D34 | Biaxial 0/90, plane arrangement
| D35 | Triaxial 0/90/45, plane arrangement
| D39 | Biaxial 5-element 0/90
| E3 | Uniaxial, lead at both ends (semiconductor gage)
| E4 | Uniaxial, leads at one end (semiconductor gage)
| E5 | Uniaxial, lead at both ends with no base (semiconductor gage)
| F2 | Uniaxial 2-element (semiconductor gage)
| F3 | Biaxial 0/90 (semiconductor gage)
| G4 | Uniaxial, leads at one end (KH-G4)
| G8 | Uniaxial active/dummy 2-element, Inconel (for KHC)
| G9 | Uniaxial active/dummy 2-element, SUS (for KHC)
| G10 | Uniaxial (for KCW)
| G12 | Uniaxial active/dummy 2-element (for KHCS)
| G13 | Uniaxial active/dummy 2-element (for KHCX)
| G15 | Uniaxial active/dummy 2-element (for KHCM)
| G16 | Uniaxial active/dummy 2-element (for KHCR)
| G17 | Uniaxial active 1-element (for KHCV)
| H1 | Uniaxial (for KM-30)
| H2 | Uniaxial (for KM-120)
| H3 | Uniaxial (for KMC)
| H4 | Uniaxial with T thermocouple (for KMC)
| J1 | Uniaxial (for KFS)
| 1 | Composite materials such as CFRP, Amber, Diamond
| 3 | Composite materials such as GFRP, Silicon, Sulfur
| 5 | Composite materials such as GFRP, Tunsten, Lumber, Molybdenum, Zirconium, Kobar
| 6 | Composite materials such as GFRP, Tantalum
| 9 | Composite materials such as CFRP, GFRP, Titanium alloy, Platinum, Soda-lime glass
| 11 | Common steel, SUS631, SUS630, Cast iron, Nickel-molybdenum steel, Beryllim, Inconel X
| 13 | Corrosion and hest resistant alloys such as NCF, Nickel, Printed board
| 16 | Stainless steel SUS340, Beryllum steel, Copper
| 23 | 2014-T4 aluminum, Brass, Tin, 2024-T4 aluminum
| 27 | Magnesium alloy, Composite material, GFRP
| 65 | Acrylic resin, Polycarbonate
| Type and length od leadwire cable options | Ask us for details : contact@prescamex.fr